## Slide 1: Basic SFC in STL
2016/11/24

## Slide 2
Historique
1977 L’AFCET propose les bases d'un outil qu'elle appelle GRAFCET.
1982 NF C03-190: Norme française
1987 IEC 848: Norme européenne (reprend une partie de la norme NF)
2002 IEC 60848 – langage de spécification GRAFCET pour diagrammes fonctionnels en séquence.
2006 maintenance …
GRAphe Fonctionnel de Commande d’Étape-Transition

## Slide 3: SEQUENTIAL FUNCTION CHARTS(SFC)
Sequential function chart, or SFC, is a graphical “language” that provides a diagrammatic representation of control sequences in a program.
Basically, sequential function chart is a flowchart-like framework that can organize the subprograms or subroutines (programmed in LD, FBD, IL, and/or ST) that form the control program.

## Slide 4
The SFC programming framework contains three main elements that organize the control program
  Steps
    A step is a stage in the control process.
  Transitions
    After the PLC executes a step/action, it must receive a transition before it will proceed to the next step.
  Actions
    Each step may or may not have an action associated with it. An action is a set of control instructions prompting the PLC to execute a certain control function during that step.

## Slide 5
Introduction
connection
Steps
Transitions
A
Actions
B
B
A
r2
r1
r0
receptivities
r2
r1
r0
E/S

## Slide 6: Graphic symbols used in SFCs in unity pro
Initial Step
Step
Transition
Jump to a Step
Macrostep
Beginning Macrostep
Ending Macrostep

## Slide 7
Step
Transition
Initial Step
Macrostep

## Slide 8: DIVERGENCES AND CONVERGENCES
A divergence is when an SFC element has many links going out of it, while a convergence is when an element has many links coming into it.
One link between each step
Multiple links between each steps

## Slide 9: OR Divergences and Convergences
OR Divergence (one step to several transitions)
OR Convergence (several transitions to one step)

## Slide 10: AND Divergences and Convergences
AND Divergence (one transition to several steps)
AND Convergence (several steps to one transition)

## Slide 11: Grafcet (control sequence) Twidosoft Languages